## Equipment TB-Box
TB1 ( Plant A )
No. | Model | Name | Supplier | Brand | Unit Price | Quantity | Total (THB) | Installation point | Remark
1 | KV-EP02 | Remote I/O Module |  | KEYENCE |  | 1 | - |  | By owner
2 | NC-32EX | Input unit |  | KEYENCE |  | 2 | - |  | By owner
3 | RA25-78-1 | Control Box | MEJI | NITTO | 12300 | 1 | 12300
4 | OAM-60000-45-8Txm ( 8 Port ) | SWITCHING HUB | Data Automation | OAM Link | 2340 | 1 | 2340
7 | PLC-RSC-230UC/21 | Relay | JW TECH | PHOENIX | 360 | 64 | 23040
9 | XC-T34B2 | Terminal Box for KV | Keyence | Keyence | 1990 | 2 | 3980
10 | XC-H34-03 | Terminal Box for KV | Keyence | Keyence | 2800 | 2 | 5600
11 | NV63-CV 2P-15A | ELCB | Nort Tech | MITSUBISHI | 3135 | 1 | 3135
12 | CP30-BA-2P-5A | Circuit Protector | AutomationCad | MITSUBISHI | 2165 | 1 | 2165
13 | S8VK-G12024 | Switching Power Supply | AutomationCad | OMRON | 3300 | 1 | 3300
14 | DNR314-100 | Din rail | Hardwarehouse | Hardwarehouse | 100 | 3 | 300
15 | WD4030 PRI | Wire duct (WD) | Hardwarehouse | Hardwarehouse | 100 | 3 | 300
16 | G6D-4-SB | Short Bar | PT Automation | OMRON | 10 | 10 | 100
17 | BN15LW | Terminal IDEC ( 1 Box / 25 Pcs.) | Hardwarehouse | IDEC | 1830 | 3 | 5490
18 |  | Name plate | - | - | 500 | 1 | 500
19 | BNE15W | End plate terminal | Hardwarehouse | IDEC | 9 | 10 | 90
20 | CU/PVC-F 1Sqmm. Dark blue | Wiring Cable | Automationcad | LAPP KABEL | 835 | 1 | 835
21 | CU/PVC-F 1Sqmm. Sky blue | Wiring Cable | Automationcad | LAPP KABEL | 835 | 1 | 835
22 | CU/PVC-F 1Sqmm. Brown | Wiring Cable | Automationcad | LAPP KABEL | 835 | 1 | 835
23 | CU/PVC-F 1Sqmm. Green/Yellow | Wiring Cable | Automationcad | LAPP KABEL | 835 | 1 | 835
24 |  | Other equipment of wiring. |  |  | 5000 | 1 | 5000
25 |  | Safety Cost |  |  | 19842 | 1 | 19842
[7 empty] | 90822 | THB
TB2 ( Plant A )
No. | Model | Name | Supplier | Brand | Unit Price | Quantity | Total (THB) | Installation point | Remark
1 | KV-EP02 | Remote I/O Module |  | KEYENCE |  | 1 | - |  | By owner
2 | NC-32EX | Input unit |  | KEYENCE |  | 2 | - |  | By owner
3 | RA25-78-1 | Control Box | MEJI | NITTO | 12300 | 1 | 12300
4 | OAM-60000-45-8Txm ( 8 Port ) | SWITCHING HUB | Data Automation | OAM Link | 2340 | 1 | 2340
6 | PLC-RSC-230UC/21 | Relay | JW TECH | PHOENIX | 360 | 64 | 23040
8 | XC-T34B2 | Terminal Box for KV | Keyence | Keyence | 1990 | 2 | 3980
9 | XC-H34-03 | Terminal Box for KV | Keyence | Keyence | 2800 | 2 | 5600
11 | NV63-CV 2P-15A | ELCB | Nort Tech | MITSUBISHI | 3135 | 1 | 3135
12 | CP30-BA-2P-5A | Circuit Protector | AutomationCad | MITSUBISHI | 2165 | 1 | 2165
13 | S8VK-G12024 | Switching Power Supply | AutomationCad | OMRON | 3300 | 1 | 3300
14 | DNR314-100 | Din rail | Hardwarehouse | Hardwarehouse | 100 | 3 | 300
15 | WD4030 PRI | Wire duct (WD) | Hardwarehouse | Hardwarehouse | 100 | 3 | 300
16 | G6D-4-SB | Short Bar | PT Automation | OMRON | 10 | 10 | 100
17 | BN15LW | Terminal IDEC ( 1 Box / 25 Pcs.) | Hardwarehouse | IDEC | 1830 | 3 | 5490
18 |  | Name plate | - | - | 500 | 1 | 500
19 | BNE15W | End plate terminal | Hardwarehouse | IDEC | 9 | 10 | 90
20 | CU/PVC-F 1Sqmm. Dark blue | Wiring Cable | Automationcad | LAPP KABEL | 835 | 1 | 835
21 | CU/PVC-F 1Sqmm. Sky blue | Wiring Cable | Automationcad | LAPP KABEL | 835 | 1 | 835
22 | CU/PVC-F 1Sqmm. Brown | Wiring Cable | Automationcad | LAPP KABEL | 835 | 1 | 835
23 | CU/PVC-F 1Sqmm. Green/Yellow | Wiring Cable | Automationcad | LAPP KABEL | 835 | 1 | 835
24 |  | Other equipment of wiring. |  |  | 5000 | 1 | 5000
25 |  | Safety Cost |  |  | 19842 | 1 | 19842
[7 empty] | 90822 | THB
TB1 ( Plant B )
No. | Model | Name | Supplier | Brand | Unit Price | Quantity | Total (THB) | Installation point | Remark
1 | KV-EP02 | Remote I/O Module |  | KEYENCE |  | 1 | - | By owner | By owner
2 | NC-32EX | Input unit |  | KEYENCE |  | 1 | - | By owner | By owner
3 | RA25-78-1 | Control Box | MEJI | NITTO | 12300 | 1 | 12300
4 | OAM-60000-45-8Txm ( 8 Port ) | SWITCHING HUB | Data Automation | OAM Link | 2340 | 1 | 2340
7 | PLC-RSC-230UC/21 | Relay | JW TECH | PHOENIX | 360 | 32 | 11520
9 | XC-T34B2 | Terminal Box for KV | Keyence | Keyence | 1990 | 2 | 3980
10 | XC-H34-03 | Terminal Box for KV | Keyence | Keyence | 2800 | 2 | 5600
11 | NV63-CV 2P-15A | ELCB | Nort Tech | MITSUBISHI | 3135 | 1 | 3135
12 | CP30-BA-2P-5A | Circuit Protector | Automationcad | MITSUBISHI | 2165 | 1 | 2165
13 | S8VK-G12024 | Switching Power Supply | Automationcad | OMRON | 3300 | 1 | 3300
14 | DNR314-100 | Din rail | Hardwarehouse | Hardwarehouse | 100 | 3 | 300
15 | WD4030 PRI | Wire duct (WD) | Hardwarehouse | Hardwarehouse | 100 | 3 | 300
16 | G6D-4-SB | Short Bar | PT Automation | OMRON | 10 | 10 | 100
17 | BN15LW | Terminal IDEC ( 1 Box / 25 Pcs.) | Hardwarehouse | IDEC | 1830 | 3 | 5490
18 | f | Name plate | - | - | 500 | 1 | 500
19 | BNE15W | End plate terminal | Hardwarehouse | IDEC | 9 | 10 | 90
20 | CU/PVC-F 1Sqmm. Dark blue | Wiring Cable | Automationcad | LAPP KABEL | 835 | 1 | 835
21 | CU/PVC-F 1Sqmm. Sky blue | Wiring Cable | Automationcad | LAPP KABEL | 835 | 1 | 835
22 | CU/PVC-F 1Sqmm. Brown | Wiring Cable | Automationcad | LAPP KABEL | 835 | 1 | 835
23 | CU/PVC-F 1Sqmm. Green/Yellow | Wiring Cable | Automationcad | LAPP KABEL | 835 | 1 | 835
24 |  | Other equipment of wiring. |  |  | 5000 | 1 | 5000
25 |  | Safety Cost |  |  | 16386 | 1 | 16386
[7 empty] | 75846 | THB
TB2 ( Plant B )
No. | Model | Name | Supplier | Brand | Unit Price | Quantity | Total (THB) | Installation point | Remark
1 | KV-EP02 | Remote I/O Module |  | KEYENCE |  | 1 | - | By owner | By owner
2 | NC-32EX | Input unit |  | KEYENCE |  | 2 | - | By owner | By owner
3 | RA25-78-1 | Control Box | MEIJI | NITTO KOGYO | 12300 | 1 | 12300
4 | OAM-60000-45-8Txm ( 8 Port ) | SWITCHING HUB | Data Automation | OAM Link | 2340 | 1 | 2340
7 | PLC-RSC-230UC/21 | Relay | JW TECH | PHOENIX | 360 | 32 | 11520
9 | XC-T34B2 | Terminal Box for KV | Keyence | Keyence | 1990 | 2 | 3980
10 | XC-H34-03 | Terminal Box for KV | Keyence | Keyence | 2800 | 2 | 5600
11 | NV63-CV 2P-15A | ELCB | Nort Tech | MITSUBISHI | 3135 | 1 | 3135
12 | CP30-BA-2P-5A | Circuit Protector | AutomationCad | MITSUBISHI | 2165 | 1 | 2165
13 | S8VK-G12024 | Switching Power Supply | AutomationCad | OMRON | 3300 | 1 | 3300
14 | DNR314-100 | Din rail | Hardwarehouse | Hardwarehouse | 100 | 3 | 300
15 | WD4030 PRI | Wire duct (WD) | Hardwarehouse | Hardwarehouse | 100 | 3 | 300
16 | G6D-4-SB | Short Bar | PT Automation | OMRON | 10 | 10 | 100
17 | BN15LW | Terminal IDEC ( 1 Box / 25 Pcs.) | Hardwarehouse | IDEC | 1830 | 3 | 5490
18 |  | Name plate | - | - | 500 | 1 | 500
19 | BNE15W | End plate terminal | Hardwarehouse | IDEC | 9 | 10 | 90
20 | CU/PVC-F 1Sqmm. Dark blue | Wiring Cable | Automationcad | LAPP KABEL | 835 | 1 | 835
21 | CU/PVC-F 1Sqmm. Sky blue | Wiring Cable | Automationcad | LAPP KABEL | 835 | 1 | 835
22 | CU/PVC-F 1Sqmm. Brown | Wiring Cable | Automationcad | LAPP KABEL | 835 | 1 | 835
23 | CU/PVC-F 1Sqmm. Green/Yellow | Wiring Cable | Automationcad | LAPP KABEL | 835 | 1 | 835
24 |  | Other equipment of wiring. |  |  | 5000 | 1 | 5000
25 |  | Safety Cost |  |  | 16386 | 1 | 16386
[7 empty] | 75846 | THB