## Equipment and Estimate time
Equipment of Machine operation monitoring system for MACO
ITEM | MODEL/PART NO | DISCRIPTION | SUPPIER | BRAND | LEAD TIME | QUOTE REF. | UNIT PRICE | QUANTITY | TOTAL (BATH) | INSTALLATION POINT | REMARK
1 | KV-8000 | PLC UNIT | KEYENCE | KEYENCE | - |  |  | 1 | 0 | IoT Box | Wait price from Keyence
2 | KV-XLE02 | ETHERNET UNIT | KEYENCE | KEYENCE | - |  |  | 1 | 0 | IoT Box | Wait price from Keyence
3 | KV-XD02 | I/O UNIT | KEYENCE | KEYENCE | - |  |  | 1 | 0 | IoT Box | Wait price from Keyence
4 | KV-7000C | Bus Convert | KEYENCE | KEYENCE | - |  |  | 1 | 0 | IoT Box | Wait price from Keyence
5 | KV-B8XTD | Input/Output Unit 8in/8out | KEYENCE | KEYENCE | - |  |  | 1 | 0 | IoT Box | Wait price from Keyence
6 | LR4-302LJBW-RYG | Tower light | Meji | Patlite | 1 M. |  | 2780 | 1 | 2780 | IoT Box
7 | OAM-60000-45-5GT | SWITCHING HUB | Data Automation | OAM Link | 1-2 W. |  | 1985 | 1 | 1985 | IoT Box
8 | CH20-44TH | Control Box | Meiji | Nito Kogyo | 1-2 W. |  | 6000 | 1 | 6000 | IoT Box
9 | NV32-SV 2P 10A | Breakers (ELCB) | Automationcad | MITSUBISHI | 1-2 W. |  | 3045 | 1 | 3045 | IoT Box
10 | S8VK-G12024 | Switching Power Supply | Misumi | OMRON | 1-2 W. |  | 3477.6 | 1 | 3477.6 | IoT Box
11 | CP30-BA-2P-5A | Circuit Protector | - | MITSUBISHI | 1-2 W. |  | 2165 | 1 | 2165 | IoT Box
12 | DNR314-100 | Din rail | - | Hardwarehouse | 1-2 W. |  | 100 | 2 | 200 | IoT Box
13 | HP-25 | Cable Bushing (Black) | - | BANDEX | 1-2 W. |  | 200 | 2 | 400 | IoT Box
14 | Cable Gland | Cable Gland | Hardwarehouse | Hardwarehouse | 1-2 W. |  | 200 | 2 | 400 | IoT Box
15 | BNDH15W | Terminal IDEC ( 1 Box / 25 Pcs.) | - | IDEC | 1-2 W. |  | 1830 | 1 | 1830 | IoT Box
16 | - | Stand installation of box | - | - | - |  | 10000 | 1 | 10000 | IoT Box
17 | - | Other equipment of wiring. | - | - | - |  | 5000 | 1 | 5000 | IoT Box
18 | Labore cost | Program Dev. + UI Dev. 45 Day | TOMAS TECH | TOMAS TECH | - |  | - | 1 |  | IoT Box
19 | Labore cost | Wiring box 2 Day | TOMAS TECH | TOMAS TECH | - |  | - | 1 |  | IoT Box
20 | Labore cost | Installation and Traning 7 Day | TOMAS TECH | TOMAS TECH | - |  | - | 1 |  | IoT Box
21 | - | Sefety cost | - | - | - |  | 10000 | 1 | 10000 | IoT Box
47282.6