## Summarize_Low price
Equipment
Item | Model / Part Number | Discription | Supplier | Brand | Lead Time | Quote Rev. | Unit price | Quantity | Total (BATH) | Unit
1 | KV-8000 | PLC |  | KEYENCE |  |  |  | 4 | 0 | Pcs.
2 | KV-XD02 |  |  | KEYENCE |  |  |  | 4 | 0 | Pcs.
3 | KV-EP02 |  |  | KEYENCE |  |  |  | 10 | 0 | Pcs.
4 | KV-8XTD |  |  | KEYENCE |  |  |  | 4 | 0
5 | KV-NC16EX |  |  | KEYENCE |  |  |  | 10 | 0
6 | VT5-W10 |  |  | KEYENCE |  |  |  | 14
7 | TV-DISPLAY DRIVER | [6 empty] | 8 | 0
8 | CES-08 | Control Cabinet | JW Tech | TEMCO | 5-7 Day | QJP-231201371-R0 | 3300 | 14 | 46200 | Pcs.
9 | NV63-CV 2P-15A | ELCB | JW Tech | MITSUBISHI | IN STOCK | QJP-231201371-R0 | 687 | 14 | 9618 | Pcs.
10 | CP30-BA-2P-5A | Circuit Protector | JW Tech | MITSUBISHI | IN STOCK | QJP-231201371-R1 | 948 | 28 | 26544 | Pcs.
11 | S8VK-G12024 | Switching Power Supply | JW Tech | OMRON | IN STOCK | QJP-231201371-R2 | 2900 | 14 | 40600 | Roll
12 | H05V-K 1Sqmm. Dark blue | Wiring Cable | NETTA | LAPP KABEL | 1-2 Day | HO-QT2312059 | 640 | 7 | 4480 | Roll
13 | H05V-K 1Sqmm. Light blue | Wiring Cable | NETTA | LAPP KABEL | 1-2 Day | HO-QT2312060 | 640 | 2 | 1280 | Roll
14 | H05V-K 1Sqmm. Brown | Wiring Cable | NETTA | LAPP KABEL | 1-2 Day | HO-QT2312061 | 640 | 2 | 1280 | Roll
15 | H05V-K 1Sqmm. Green/Yellow | Wiring Cable | NETTA | LAPP KABEL | 1-2 Day | HO-QT2312062 | 640 | 1 | 640 | Pcs.
16 | 1.25-3YS | หางปลา แฉกเปลือย 1.25-3YS KENION | AUTOMATIONCAD | KENION | IN STOCK | QT231222-007 | 0.8 | 1000 | 800 | Pcs.
17 | CE1.0-8 | Cord End แดง | AUTOMATIONCAD | T-LUG | IN STOCK | QT231222-008 | 1.5 | 1000 | 1500 | Pcs.
18 | YW1PUQM3A | Pilot light LED 22mm. PL. Amber | AUTOMATIONCAD | IDEC | IN STOCK | QT231222-009 | 65.76 | 14 | 920.64 | Pcs.
19 | BND15W | DoubleDeck Terminal Block | AUTOMATIONCAD | IDEC | IN STOCK | QT231222-010 | 54.72 | 300 | 16416 | Pcs.
20 | BNL6 | Mounting clip | AUTOMATIONCAD | IDEC | IN STOCK | QT231222-011 | 12.96 | 100 | 1296 | Pcs.
21 | BNDE15W | End Plate for (BND15W) | AUTOMATIONCAD | IDEC | IN STOCK | QT231222-012 | 33.6 | 30 | 1008 | Pcs.
22 | WD4060-8 (W40 X H60) | Wire Duct | AUTOMATIONCAD | BANDEX | IN STOCK | QT231222-013 | 273 | 20 | 5460 | Pcs.
23 | BAA1000 | DIN RAIL 35MM ALUMINUM 1M | AUTOMATIONCAD |  | IN STOCK | QT231222-014 | 50 | 10 | 500 | Pcs.
24 |  | Cutting Panel Cabinet & Delivery | N.T.ENGINEERING |  |  |  | 350 | 14 | 4900
25 |  | Sefety cost |  |  |  |  | 50533 | 1 | 50533
26 |  | Other equipment of wiring. |  |  |  |  | 5000 | 1 | 5000
0
218975.64
Price from Sipplier All
Equipment |  |  |  |  | Supplier
Item | Model / Part Number | Discription | Supplier | Brand | Netta | JW Tech | Automationcad | Quantity | Netta(Total) | JW Tech (Total) | Automationcad (Total)
8 | CES-08 | Control Cabinet |  | TEMCO | 3500 | 3300 | 3325 | 14 | 49000 | 46200 | 46550
9 | NV63-CV 2P-15A | ELCB |  | MITSUBISHI | 2625 | 687 |  | 14 | 36750 | 9618 | 0
10 | CP30-BA-2P-5A | Circuit Protector |  | MITSUBISHI | 1537.5 | 984 | 1291.5 | 28 | 43050 | 27552 | 36162
11 | S8VK-G12024 | Switching Power Supply |  | OMRON |  | 2900 | 3745 | 14 | 0 | 40600 | 52430
12 | H05V-K 1Sqmm. Dark blue | Wiring Cable |  | LAPP KABEL | 6.4 |  | 8.35 | 700 | 4480 | 0 | 5845
13 | H05V-K 1Sqmm. Light blue | Wiring Cable |  | LAPP KABEL | 6.4 |  | 8.35 | 200 | 1280 | 0 | 1670
14 | H05V-K 1Sqmm. Brown | Wiring Cable |  | LAPP KABEL | 6.4 |  | 8.35 | 200 | 1280 | 0 | 1670
15 | H05V-K 1Sqmm. Green/Yellow | Wiring Cable |  | LAPP KABEL | 6.4 |  | 8.35 | 200 | 1280 | 0 | 1670
16 | 1.25-3YS | หางปลา แฉกเปลือย 1.25-3YS KENION |  | KENION |  |  | 0.8 | 1000 | 0 | 0 | 800
17 | CE1.0-8 | Cord End แดง |  | T-LUG | 1.65 |  | 1.5 | 1000 | 1650 | 0 | 1500
18 | YW1PUQM3A | Pilot light LED 22mm. PL. Amber |  | IDEC | 75.35 |  | 65.76 | 14 | 1054.9 | 0 | 920.64
19 | BND15W | DoubleDeck Terminal Block |  | IDEC | 62.7 |  | 54.72 | 300 | 18810 | 0 | 16416
20 | BNL6 | Mounting clip |  | IDEC | 14.85 |  | 12.96 | 100 | 1485 | 0 | 1296
21 | BNDE15W | End Plate for (BND15W) |  | IDEC | 38.5 |  | 33.6 | 30 | 1155 | 0 | 1008
22 | WD4060-8 (W40 X H60) | Wire Duct |  | BANDEX | 332.5 |  | 273 | 20 | 6650 | 0 | 5460
23 | BAA1000 | DIN RAIL 35MM ALUMINUM 1M |  |  |  |  | 50 | 10 | 0 | 0 | 500
0
[9 empty] | 167924.9 | 123970 | 173897.64