## Slide 1
System Outline water treatment project
Data utilization Unit
KV-XD02
TNF server
( Backup once a day )
Master PLC
SD card version R1
CSV file 2023/07
***.csv
CSV file 2023/08
***.csv
CSV file 2023/06
***.csv
CSV file 2023/07
***.csv
CSV file 2023/08
***.csv
CSV file 2023/06
***.csv
SD card version R2
CSV file 2023/07
***.csv
CSV file 2023/08
***.csv
CSV file 2023/06
***.csv
FTP communication
Manual file transfer
R1 SD card corruption
Change to R2 SD card
1
2
Please allow me to confirm your understanding of the content of today's discussion.
Is it correct to say that if we store the CSV backup file on the server and move the SD, we can check the data if we transfer the CSV file to the SD?