## Slide 1: Shimizu Manufacturing co ltd
Background
At present, the customer's machine is unable to report the production of work pieces. The machine has been stopped but cannot know how long the time was stopped and does not know the reason. The customer has requested that an OEE, Report on production and machine work be prepared, save data to SQL
Scope project software
1.Read Data from takamaz XC-15
2.Calculator OEE by PLC
3.Touch Screen HMI for input data and Monitor
4.Read data from PLC To SQL
5.Save Data about troubleshooting Stop machine and When does it start?
Scope project Hardware
1.install Network Lan
2.Setup control Box
3.install Server standalone
4.install sensor
5.Mechanic other

## Slide 2: Layout Machine
Hub
Master Box
Scope of work
  Wiring Lan from Hub to Master Box CAT6
  Wiring I/O from Machine to Master Box 10C 0.5 sq.mm.
  Wiring Power AC220V To master Box
1.5 sq.mm.
  Wiring Power AC220V To Hub and UPS Server
1.5 sq.mm.
Machine
Lan
Wiring I/O

## Slide 3: Layout Machine
3M
9M
3M
HMI
120 CM
60 CM
50 CM

## Slide 4: Data transfer

## Slide 5: Layout GUI

## Slide 6: Layout GUI

## Slide 7: Layout GUI